DELTACEIR LINE– CEIR linears by trackless system (swing-down) type Delta system

Closed “Δ” triangle shaped blade linear open cell ceiling system, made of aluminium, consisting of a trackless substructure [U-shaped suspension channels] and panel elements. The system is swing-down and allows for a free-floating installation.

The U-shaped suspension channels are suspended rigidly from the mounting level by means of M6 threaded rods. The distance between the U-shaped suspension channels depends on the specified module dimension - according to the panel size length. The blades have holes for connecting the panel elements and the U-shaped suspension channels by means of springs. Each panel element is self-adjusting and can be individually hinged open.

Double cross system is possible, by means U-shaped primary and secondary suspension profiles, starting from a suspension height of 300 mm.

The edge trim (optional) is carried out by perimeter profile profile L, double L or C shape, 3 m long in aluminium, inner/outer same color of the panels. The height of the trim according to the panel blade height.

Pos. …..

…m² Panels – DELTACEIR LINE– closed “Δ” triangle shaped blade linear ceir open cell ceiling

Type: base 4

Panel size [LxW]: …… mm (1200x600 mm or customized size)

Material thickness: ………. mm th. (0,40 mm)

Pitch: ………. mm c/c (15-300 mm)

Blade height : ….. mm (h20-25-30-37,5 mm)

Surface: ……. (plain)

Colour: ………. (white, silver, black, alu natural; others to define)

Aluminium: …….. (pre-coated, post-coated or anodised)

Unit price: ………. €/m²

Total price: ………. €

Pos. ……….

………. m² trackless swing-down substructure type Delta [U-shaped suspension channel]

Colour: ………. (black, others to define)

Unit price: ………. €/m²

Total price: ……….

Pos. ……….

………. lm Perimeter Profile [L, double L, C] - optional

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/lm

Total price: ……….