TETRAL B – CEIR grids by T15-T24 system

“U” shaped blade open cell ceiling system, made of aluminium, consisting of a visible substructure T15/T24 system (lay-in / lay-on) and panel elements.

The T-grid is suspended rigidly from the mounting level by means adjustable suspension hanger with 4 mm diameter. The distance between the T-profiles depends on the specified module dimension – according to the panel size length.

The edge trim is carried out by perimeter profile L, double L or C shape, 3 m long in aluminium, inner/outer same color of the panels. The height of the trim according to the panel blade height.

Pos. …..

…m² Panels – TETRAL B – Grids U shaped blade ceir open cell ceiling

Type: ……….(base 4, base 5, base 10, base 15, base 20)

Panel size [LxW]: …… mm (600x600 mm or 1200x600 mm)

Material thickness: ………. mm th. (0,40 mm)

Cell dimension: ………. mm (30-300 mm)

Blade base [B]/height [H] : ………. mm (b4 h30- b5 h30 - b10 h30/40/50/60- b15 h70- b20 h80 mm)

Surface: ……. (plain or perforated)

Colour: ………. (white, silver, black, alu natural; others to define)

Aluminium: …….. (pre-coated, post-coated or anodised)

Unit price: ………. €/m²

Total price: ………. €

Pos. ……….

………. m² T-grid [T15/T24]

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/m²

Total price: ……….

Pos. ……….

………. lm Perimeter Profile [L, double L, C]

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/lm

Total price: ……….

TETRAL B – CEIR grids by trackless system (swing-down) type Delta system

“U” shaped blade open cell ceiling system, made of aluminium, consisting of a trackless substructure [U-shaped suspension channels] and panel elements. The system is swing-down and allows for a free-floating installation.

The U-shaped suspension channels are suspended rigidly from the mounting level by means of M6 threaded rods. The distance between the U-shaped suspension channels depends on the specified module dimension - according to the panel size length. The blades have holes for connecting the panel elements and the U-shaped suspension channels by means of springs. Each panel element is self-adjusting and can be individually hinged open.

Double cross system is possible, by means U-shaped primary and secondary suspension profiles, starting from a suspension height of 300 mm.

The edge trim (optional) is carried out by perimeter profile profile L, double L or C shape, 3 m long in aluminium, inner/outer same color of the panels. The height of the trim according to the panel blade height.

Pos. …..

…m² Panels – TETRAL B – Grids U shaped blade ceir open cell ceiling

Type: ……….(base 4, base 5, base 10, base 15, base 20)

Panel size [LxW]: …… mm (1200x600 mm, 600x600 mm or customized size)

Material thickness: ………. mm th. (0,40 mm)

Cell dimension: ………. mm (30-300 mm)

Blade base [B]/height [H] : ………. mm (b4 h30- b5 h30 - b10 h30/40/50/60- b20 h80 mm)

Surface: ……. (plain or perforated)

Colour: ………. (white, silver, black, alu natural; others to define)

Aluminium: …….. (pre-coated, post-coated or anodised)

Unit price: ………. €/m²

Total price: ………. €

Pos. ……….

………. m² trackless swing-down substructure type Delta [U-shaped suspension channel]

Colour: ………. (black, others to define)

Unit price: ………. €/m²

Total price: ……….

Pos. ……….

………. lm Perimeter Profile [L, double L, C] - optional

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/lm

Total price: ……….

TETRAL B – CEIR grids by trackless system type Tetral

“U” shaped blade open cell ceiling system, made of aluminium, consisting of an integrated trackless substructure [main and cross runners] and panel elements.

The main runners, consisting in U-shaped profiles identical to panel blades, are suspended rigidly from the mounting level by means of adjustable hanger brackets with 4 mm diameter. The distance between the main runners 1.800 mm long depends on the specified cell dimension. The cross runner (1.200) 600 mm long ensures the correct alignment of the panel elements. The panel blades are connected to the integrated main runners by means of the formed apertures. The individual panels are self-adjusting and can be removed individually.

Like edge trim: perimeter profile L, double L or C shape, 3 m long in aluminium, inner/outer same color of the panels. The height of the trim according to the panel blade height.

Pos. …..

…m² Panels – TETRAL B – Grids U shaped blade ceir open cell ceiling

Type: ……….(base 4, base 5, base 10, base 20)

Panel size [LxW]: …… mm (600x600 mm or 1200x600 mm)

Material thickness: ………. mm th. (0,40 mm)

Cell dimension: ………. mm (30-600 mm)

Blade base [B]/height [H] : ………. mm (b4 h30- b5 h30 - b10 h30/40/50/60 - b20 h80 mm)

Surface: ……. (plain or perforated)

Colour: ………. (white, silver, black, alu natural; others to define)

Aluminium: …….. (pre-coated, post-coated or anodised)

Unit price: ………. €/m²

Total price: ………. €

Pos. ……….

………. m² integrated trackless substructure type Tetral [main / cross carrier T1800,T1200,T600]

Colour: ………. (like the panel elements)

Unit price: ………. €/m²

Total price: ……….

Pos. ……….

………. lm Perimeter Profile [L, double L, C]

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/lm

Total price: ……….