TETRAL LINE– CEIR linears by trackless system (swing-down) type Delta system

“U” shaped blade linear open cell ceiling system, made of aluminium, consisting of a trackless substructure [U-shaped suspension channels] and panel elements. The system is swing-down and allows for a free-floating installation.

The U-shaped suspension channels are suspended rigidly from the mounting level by means of M6 threaded rods. The distance between the U-shaped suspension channels depends on the specified module dimension - according to the panel size length. The blades have holes for connecting the panel elements and the U-shaped suspension channels by means of springs. Each panel element is self-adjusting and can be individually hinged open.

Double cross system is possible, by means U-shaped primary and secondary suspension profiles, starting from a suspension height of 300 mm.

The edge trim (optional) is carried out by perimeter profile profile L, double L or C shape, 3 m long in aluminium, inner/outer same color of the panels. The height of the trim according to the panel blade height.

Pos. …..

…m² Panels – TETRAL LINE– “U” shaped blade linear ceir open cell ceiling

Type: …..(base 5, base 10, base 20)

Panel size [LxW]: …… mm (1200x600 mm or customized size)

Material thickness: ………. mm th. (0,40 mm)

Pitch: ………. mm c/c (15-300 mm)

Base/Blade height : ….. mm (B5 h20-30 mm; B10 h30-40-50-60-80 mm; B20 h35 mm)

Surface: ……. (plain or perforated)

Colour: ………. (white, silver, black, alu natural; others to define)

Aluminium: …….. (pre-coated, post-coated or anodised)

Unit price: ………. €/m²

Total price: ………. €

Pos. ……….

………. m² trackless swing-down substructure type Delta [U-shaped suspension channel]

Colour: ………. (black, others to define)

Unit price: ………. €/m²

Total price: ……….

Pos. ……….

………. lm Perimeter Profile [L, double L, C] - optional

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/lm

Total price: ……….

TETRAL LINE– CEIR linears by integrated trackless system type Tetral

 “U” shaped blade linear open cell ceiling system, made of aluminium, consisting of a integrated trackless substructure type Tetral.

The main runners, consisting in U-shaped profiles identical to panel blades, are suspended rigidly from the mounting level by means of adjustable hanger brackets with 4 mm diameter. The distance between the main runners 1800 mm long depends on the panel width size. The splicers for main runner and panel blade ensure the correct alignment of the panel elements. The panel blades are connected to the integrated main runners by means of the formed apertures. The individual panels are self-adjusting and can be removed individually.

Like edge trim: perimeter profile L, double L or C shape, 3 m long in aluminium, inner/outer same color of the panels. The height of the trim according to the panel blade height.

Pos. …..

…m² Panels – TETRAL LINE– “U” shaped blade linear ceir open cell ceiling

Type: …..(base 10)

Panel size [LxW]: …… mm (1200x600 mm or customized size)

Material thickness: ………. mm th. (0,40 mm)

Pitch: ………. mm c/c (30-300 mm)

Base/Blade height : ….. mm (B10 h40 mm)

Surface: ……. (plain or perforated)

Colour: ………. (white, silver, black, alu natural; others to define)

Aluminium: …….. (pre-coated, post-coated or anodised)

Unit price: ………. €/m²

Total price: ………. €

Pos. ……….

………. m² integrated trackless substructure type Tetral [main carrier T1800]

Colour: ………. (like the panel elements)

Unit price: ………. €/m²

Total price: ……….

Pos. ……….

………. lm Perimeter Profile [L, double L, C]

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/lm

Total price: ……….