TETRAL S – CEIR grids by trackless T15-T24 system

“U” shaped blade open cell ceiling system, made of aluminium, consisting of a trackless substructure T15/T24 system and panel elements complete with frame.

The T-grid is suspended rigidly from the mounting level by means adjustable suspension hanger with 4 mm diameter. The distance between the T-profiles depends on the specified module dimension – according to the panel size length. The individual panels are self-adjusting and can be removed individually.

The edge trim is carried out by perimeter profile L, double L or C shape, 3 m long in aluminium, inner/outer same color of the panels. The height of the trim according to the panel blade height.

Pos. …..

…m² Panels – TETRAL S – Grids U shaped blade ceir open cell ceiling

Type: ……….(base 15, base 24)

Panel size [LxW]: …… mm (600x600 mm or 1200x600 mm)

Material thickness: ………. mm th. (0,40 mm)

Cell dimension: ………. mm (50-300 mm)

Blade base /height : ………. mm (b15 h30-40-50; b24 h35)

Surface: ……. (plain or perforated)

Colour: ………. (white, silver, black, alu natural; others to define)

Aluminium: …….. (pre-coated, post-coated or anodised)

Unit price: ………. €/m²

Total price: ………. €

Pos. ……….

………. m² trackless T-grid [T15 for base 15 / T24 for base 24]

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/m²

Total price: ……….

Pos. ……….

………. lm Perimeter Profile [L, double L, C]

Colour: ………. (white, silver, black; others to define)

Unit price: ………. €/lm

Total price: ……….